## ROLLUP
category | count | unit | building_A | building_M | building_T | building_other
AHU | 5 | EA | 2 | 1 | 2 | 0
DOAH_UNIT | 3 | EA | 2 | 1 | 0 | 0
DOAH_HANDLING | 1 | EA | 0 | 0 | 1 | 0
FCU | 42 | EA | 14 | 10 | 18 | 0
VAV | 52 | EA | 27 | 25 | 0 | 0
AIR_COOLED_CHILLER | 2 | EA | 2 | 0 | 0 | 0
HEAT_RECOVERY_CHILLER | 2 | EA | 0 | 2 | 0 | 0
BOILER | 6 | EA | 2 | 2 | 2 | 0
PUMP | 26 | EA | 8 | 11 | 7 | 0
FAN | 8 | EA | 3 | 1 | 4 | 0
CABINET_UNIT_HEATER | 5 | EA | 2 | 1 | 2 | 0
UNIT_HEATER | 6 | EA | 5 | 1 | 0 | 0
CRAH | 6 | EA | 0 | 4 | 2 | 0
DEHUMIDIFIER | 12 | EA | 6 | 3 | 3 | 0
HUMIDIFIER | 12 | EA | 1 | 6 | 5 | 0
AIR_SEPARATOR | 6 | EA | 2 | 2 | 2 | 0
EXPANSION_TANK | 4 | EA | 2 | 2 | 0 | 0
CHW_CONTROL_VALVE | 64 | EA | 22 | 18 | 23 | 1
HHW_CONTROL_VALVE | 99 | EA | 41 | 35 | 22 | 1
GRD | 30 | EA | 0 | 0 | 0 | 30
RANGE_HOOD | 3 | EA | 0 | 3 | 0 | 0
DUCT_SILENCER | 2 | EA | 2 | 0 | 0 | 0

## AHU
tag | description | qty | unit | sheet_id | table_title | bbox_px
AHU-A1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#42 | AIR HANDLING UNIT SCHEDULE | 301.2,303.1199999999999,442.32,337.67999999999984
AHU-A2 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#42 | AIR HANDLING UNIT SCHEDULE | 301.2,337.67999999999984,442.32,372
AHU-M1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#45 | AIR HANDLING UNIT SCHEDULE | 317.52,282.48,458.4,317.03999999999996
AHU-T1A |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#48 | AIR HANDLING UNIT SCHEDULE | 230.64,348,371.52,382.55999999999995
AHU-T1B |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#48 | AIR HANDLING UNIT SCHEDULE | 230.64,382.55999999999995,371.52,417.1199999999999

## DOAH_UNIT
tag | description | qty | unit | sheet_id | table_title | bbox_px
DOAH-A1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#42 | DEDICATED OUTDOOR AIR UNIT SCHEDULE | 301.2,791.5219999999999,445.2,826.0839999999998
DOAH-A2 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#42 | DEDICATED OUTDOOR AIR UNIT SCHEDULE | 301.2,826.0839999999998,445.2,860.404
DOAH-M1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#46 | DEDICATED OUTDOOR AIR UNIT SCHEDULE | 293.28,1545.36,437.28,1579.68

## DOAH_HANDLING
tag | description | qty | unit | sheet_id | table_title | bbox_px
DOAH-T1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | DEDICATED OUTDOOR AIR HANDLING UNIT SCHEDULE | 265.2,1360.32,373.2,1394.642

## FCU
tag | description | qty | unit | sheet_id | table_title | bbox_px
FCU-A1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#42 | FAN COIL UNIT SCHEDULE | 301.2,1673.038,441.6,1707.36
FCU-A2 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#42 | FAN COIL UNIT SCHEDULE | 301.2,1707.36,441.6,1741.92
FCU-A3 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#42 | FAN COIL UNIT SCHEDULE | 301.2,1741.92,441.6,1776.48
FCU-A4 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#42 | FAN COIL UNIT SCHEDULE | 301.2,1776.48,441.6,1810.798
FCU-A5 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#42 | FAN COIL UNIT SCHEDULE | 301.2,1810.798,441.6,1845.358
FCU-A6 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#42 | FAN COIL UNIT SCHEDULE | 301.2,1845.358,441.6,1879.918
FCU-A7 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#42 | FAN COIL UNIT SCHEDULE | 301.2,1879.918,441.6,1914.48
FCU-A8A |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#42 | FAN COIL UNIT SCHEDULE | 301.2,1914.48,441.6,1948.8
FCU-A8B |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#42 | FAN COIL UNIT SCHEDULE | 301.2,1948.8,441.6,1983.36
FCU-A9 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#42 | FAN COIL UNIT SCHEDULE | 301.2,1983.36,441.6,2017.918
FCU-A10 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#42 | FAN COIL UNIT SCHEDULE | 301.2,2017.918,441.6,2052.2380000000003
FCU-A11 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#42 | FAN COIL UNIT SCHEDULE | 301.2,2052.2380000000003,441.6,2086.8
FCU-A12 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#42 | FAN COIL UNIT SCHEDULE | 301.2,2086.8,441.6,2121.3599999999997
FCU-A13 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#42 | FAN COIL UNIT SCHEDULE | 301.2,2121.3599999999997,441.6,2155.68
FCU-M1A |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#45 | FAN COIL UNIT SCHEDULE | 313.682,702.2359999999999,416.16,736.556
FCU-M1B |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#45 | FAN COIL UNIT SCHEDULE | 313.682,736.556,416.16,771.116
FCU-M2A |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#45 | FAN COIL UNIT SCHEDULE | 313.682,771.116,416.16,805.6759999999999
FCU-M2B |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#45 | FAN COIL UNIT SCHEDULE | 313.682,805.6759999999999,416.16,839.9960000000001
FCU-M3 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#45 | FAN COIL UNIT SCHEDULE | 313.682,839.9960000000001,416.16,874.556
FCU-M4A |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#45 | FAN COIL UNIT SCHEDULE | 313.682,874.556,416.16,909.116
FCU-M4B |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#45 | FAN COIL UNIT SCHEDULE | 313.682,909.116,416.16,943.6759999999999
FCU-M5 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#45 | FAN COIL UNIT SCHEDULE | 313.682,943.6759999999999,416.16,977.9960000000001
FCU-M6 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#45 | FAN COIL UNIT SCHEDULE | 313.682,977.9960000000001,416.16,1012.556
FCU-M7 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#45 | FAN COIL UNIT SCHEDULE | 313.682,1012.556,416.16,1047.118
FCU-T1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#48 | FAN COIL UNIT SCHEDULE | 230.64,856.556,342.24,891.116
FCU-T2 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#48 | FAN COIL UNIT SCHEDULE | 230.64,891.116,342.24,925.6759999999999
FCU-T3 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#48 | FAN COIL UNIT SCHEDULE | 230.64,925.6759999999999,342.24,959.9960000000001
FCU-T4 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#48 | FAN COIL UNIT SCHEDULE | 230.64,959.9960000000001,342.24,994.556
FCU-T5A |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#48 | FAN COIL UNIT SCHEDULE | 230.64,994.556,342.24,1029.116
FCU-T5B |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#48 | FAN COIL UNIT SCHEDULE | 230.64,1029.116,342.24,1063.4360000000001
FCU-T6 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#48 | FAN COIL UNIT SCHEDULE | 230.64,1063.4360000000001,342.24,1097.996
FCU-T7A |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#48 | FAN COIL UNIT SCHEDULE | 230.64,1097.996,342.24,1132.556
FCU-T7B |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#48 | FAN COIL UNIT SCHEDULE | 230.64,1132.556,342.24,1167.116
FCU-T8 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#48 | FAN COIL UNIT SCHEDULE | 230.64,1167.116,342.24,1201.436
FCU-T9 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#48 | FAN COIL UNIT SCHEDULE | 230.64,1201.436,342.24,1235.996
FCU-T10 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#48 | FAN COIL UNIT SCHEDULE | 230.64,1235.996,342.24,1270.556
FCU-T11 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#48 | FAN COIL UNIT SCHEDULE | 230.64,1270.556,342.24,1304.876
FCU-T12 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#48 | FAN COIL UNIT SCHEDULE | 230.64,1304.876,342.24,1339.436
FCU-T13 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#48 | FAN COIL UNIT SCHEDULE | 230.64,1339.436,342.24,1373.996
FCU-T14 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#48 | FAN COIL UNIT SCHEDULE | 230.64,1373.996,342.24,1408.316
FCU-T15 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#48 | FAN COIL UNIT SCHEDULE | 230.64,1408.316,342.24,1442.878
FCU-T16 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#48 | FAN COIL UNIT SCHEDULE | 230.64,1442.878,342.24,1477.438

## VAV
tag | description | qty | unit | sheet_id | table_title | bbox_px
VAV-A101 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#43 | VARIABLE AIR VOLUME TERMINAL BOX | 301.92,1897.68,526.8,1932.24
VAV-A102 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#43 | VARIABLE AIR VOLUME TERMINAL BOX | 301.92,1932.24,526.8,1966.8
VAV-A103 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#43 | VARIABLE AIR VOLUME TERMINAL BOX | 301.92,1966.8,526.8,2001.36
VAV-A104 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#43 | VARIABLE AIR VOLUME TERMINAL BOX | 301.92,2001.36,526.8,2035.68
VAV-A105 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#43 | VARIABLE AIR VOLUME TERMINAL BOX | 301.92,2035.68,526.8,2070.24
VAV-A106A |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#43 | VARIABLE AIR VOLUME TERMINAL BOX | 301.92,2070.24,526.8,2104.8
VAV-A106B |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#43 | VARIABLE AIR VOLUME TERMINAL BOX | 301.92,2104.8,526.8,2139.12
VAV-A107 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#43 | VARIABLE AIR VOLUME TERMINAL BOX | 301.92,2139.12,526.8,2173.68
VAV-A108A |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#43 | VARIABLE AIR VOLUME TERMINAL BOX | 301.92,2173.68,526.8,2208.24
VAV-A108B |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#43 | VARIABLE AIR VOLUME TERMINAL BOX | 301.92,2208.24,526.8,2242.56
VAV-A109 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#43 | VARIABLE AIR VOLUME TERMINAL BOX | 301.92,2242.56,526.8,2277.12
VAV-A110 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#43 | VARIABLE AIR VOLUME TERMINAL BOX | 301.92,2277.12,526.8,2311.68
VAV-A111 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#43 | VARIABLE AIR VOLUME TERMINAL BOX | 301.92,2311.68,526.8,2346.24
VAV-A112 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#43 | VARIABLE AIR VOLUME TERMINAL BOX | 301.92,2346.24,526.8,2380.56
VAV-A113 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#43 | VARIABLE AIR VOLUME TERMINAL BOX | 301.92,2380.56,526.8,2415.12
VAV-A114 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#43 | VARIABLE AIR VOLUME TERMINAL BOX | 301.92,2415.12,526.8,2449.68
VAV-A115 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#43 | VARIABLE AIR VOLUME TERMINAL BOX | 301.92,2449.68,526.8,2484
VAV-A116 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#43 | VARIABLE AIR VOLUME TERMINAL BOX | 301.92,2484,526.8,2518.56
VAV-A117 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#43 | VARIABLE AIR VOLUME TERMINAL BOX | 301.92,2518.56,526.8,2553.12
VAV-A118 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#43 | VARIABLE AIR VOLUME TERMINAL BOX | 301.92,2553.12,526.8,2587.44
VAV-A201 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#43 | VARIABLE AIR VOLUME TERMINAL BOX | 301.92,2587.44,526.8,2622
VAV-A202 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#43 | VARIABLE AIR VOLUME TERMINAL BOX | 301.92,2622,526.8,2656.56
VAV-A203A |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#43 | VARIABLE AIR VOLUME TERMINAL BOX | 301.92,2656.56,526.8,2691.12
VAV-A203B |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#43 | VARIABLE AIR VOLUME TERMINAL BOX | 301.92,2691.12,526.8,2725.44
VAV-A204 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#43 | VARIABLE AIR VOLUME TERMINAL BOX | 301.92,2725.44,526.8,2760
VAV-A205 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#43 | VARIABLE AIR VOLUME TERMINAL BOX | 301.92,2760,526.8,2794.56
VAV-A206 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#43 | VARIABLE AIR VOLUME TERMINAL BOX | 301.92,2794.56,526.8,2828.88
VAV-M101 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#46 | VARIABLE AIR VOLUME TERMINAL BOX | 293.28,323.03999999999996,467.52,357.5999999999999
VAV-M102 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#46 | VARIABLE AIR VOLUME TERMINAL BOX | 293.28,357.5999999999999,467.52,392.15999999999985
VAV-M103 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#46 | VARIABLE AIR VOLUME TERMINAL BOX | 293.28,392.15999999999985,467.52,426.48
VAV-M104 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#46 | VARIABLE AIR VOLUME TERMINAL BOX | 293.28,426.48,467.52,461.03999999999996
VAV-M105 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#46 | VARIABLE AIR VOLUME TERMINAL BOX | 293.28,461.03999999999996,467.52,495.5999999999999
VAV-M106 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#46 | VARIABLE AIR VOLUME TERMINAL BOX | 293.28,495.5999999999999,467.52,529.9200000000001
VAV-M107 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#46 | VARIABLE AIR VOLUME TERMINAL BOX | 293.28,529.9200000000001,467.52,564.48
VAV-M108 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#46 | VARIABLE AIR VOLUME TERMINAL BOX | 293.28,564.48,467.52,599.04
VAV-M109 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#46 | VARIABLE AIR VOLUME TERMINAL BOX | 293.28,599.04,467.52,633.5999999999999
VAV-M110 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#46 | VARIABLE AIR VOLUME TERMINAL BOX | 293.28,633.5999999999999,467.52,667.9200000000001
VAV-M111 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#46 | VARIABLE AIR VOLUME TERMINAL BOX | 293.28,667.9200000000001,467.52,702.48
VAV-M112 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#46 | VARIABLE AIR VOLUME TERMINAL BOX | 293.28,702.48,467.52,737.04
VAV-M113 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#46 | VARIABLE AIR VOLUME TERMINAL BOX | 293.28,737.04,467.52,771.3600000000001
VAV-M114 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#46 | VARIABLE AIR VOLUME TERMINAL BOX | 293.28,771.3600000000001,467.52,805.9200000000001
VAV-M115 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#46 | VARIABLE AIR VOLUME TERMINAL BOX | 293.28,805.9200000000001,467.52,840.48
VAV-M116 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#46 | VARIABLE AIR VOLUME TERMINAL BOX | 293.28,840.48,467.52,874.8000000000002
VAV-M117 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#46 | VARIABLE AIR VOLUME TERMINAL BOX | 293.28,874.8000000000002,467.52,909.3600000000001
VAV-M118 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#46 | VARIABLE AIR VOLUME TERMINAL BOX | 293.28,909.3600000000001,467.52,943.9200000000001
VAV-M119 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#46 | VARIABLE AIR VOLUME TERMINAL BOX | 293.28,943.9200000000001,467.52,978.48
VAV-M120 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#46 | VARIABLE AIR VOLUME TERMINAL BOX | 293.28,978.48,467.52,1012.8000000000002
VAV-M121 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#46 | VARIABLE AIR VOLUME TERMINAL BOX | 293.28,1012.8000000000002,467.52,1047.3600000000001
VAV-M122 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#46 | VARIABLE AIR VOLUME TERMINAL BOX | 293.28,1047.3600000000001,467.52,1081.92
VAV-M123 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#46 | VARIABLE AIR VOLUME TERMINAL BOX | 293.28,1081.92,467.52,1116.2399999999998
VAV-M124 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#46 | VARIABLE AIR VOLUME TERMINAL BOX | 293.28,1116.2399999999998,467.52,1150.8
VAV-M125 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#46 | VARIABLE AIR VOLUME TERMINAL BOX | 293.28,1150.8,467.52,1185.36

## AIR_COOLED_CHILLER
tag | description | qty | unit | sheet_id | table_title | bbox_px
CH-A1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | AIR COOLED CHILLER SCHEDULE | 437.04,304.8000000000002,555.12,339.3600000000001
CH-A2 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | AIR COOLED CHILLER SCHEDULE | 437.04,339.3600000000001,555.12,373.9200000000001

## HEAT_RECOVERY_CHILLER
tag | description | qty | unit | sheet_id | table_title | bbox_px
CH-MT1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#45 | AIR COOLED HEAT RECOVERY CHILLER SCHEDULE | 303.84,2236.56,421.92,2271.12
CH-MT2 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#45 | AIR COOLED HEAT RECOVERY CHILLER SCHEDULE | 303.84,2271.12,421.92,2305.44

## BOILER
tag | description | qty | unit | sheet_id | table_title | bbox_px
B-A1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#42 | BOILER SCHEDULE | 2716.568,2640,2860.32,2674.56
B-A2 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#42 | BOILER SCHEDULE | 2716.568,2674.56,2860.32,2709.12
B-M1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#45 | BOILER SCHEDULE | 2646.958,1362.24,2739.36,1396.8
B-M2 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#45 | BOILER SCHEDULE | 2646.958,1396.8,2739.36,1431.122
B-T1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#48 | BOILER SCHEDULE | 230.64,2835.6,374.64,2870.16
B-T2 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#48 | BOILER SCHEDULE | 230.64,2870.16,374.64,2904.7200000000003

## PUMP
tag | description | qty | unit | sheet_id | table_title | bbox_px
HHWP-DOAH-A1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#42 | PUMP SCHEDULE | 301.2,2666.4,477.84,2700.96
HHWP-DOAH-A2 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#42 | PUMP SCHEDULE | 301.2,2700.96,477.84,2735.52
HHWP-DOAH-M1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#45 | PUMP SCHEDULE | 301.2,1397.76,474,1432.08
HHWP-DOAH-T1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#48 | PUMP SCHEDULE | 2527.204,2576.158,2706.72,2610.478
HRHWP-MT1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#45 | PUMP SCHEDULE | 301.2,1432.08,474,1466.64
HRHWP-MT2 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#45 | PUMP SCHEDULE | 301.2,1466.64,474,1501.2
PCHWP-A1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#42 | PUMP SCHEDULE | 301.2,2735.52,477.84,2769.84
PCHWP-A2 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#42 | PUMP SCHEDULE | 301.2,2769.84,477.84,2804.4
PCHWP-MT1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#45 | PUMP SCHEDULE | 301.2,1501.2,474,1535.52
PCHWP-MT2 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#45 | PUMP SCHEDULE | 301.2,1535.52,474,1570.08
PHHWP-A1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#42 | PUMP SCHEDULE | 301.2,2804.4,477.84,2838.96
PHHWP-A2 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#42 | PUMP SCHEDULE | 301.2,2838.96,477.84,2873.2799999999997
PHHWP-M1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#45 | PUMP SCHEDULE | 301.2,1570.08,474,1604.64
PHHWP-M2 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#45 | PUMP SCHEDULE | 301.2,1604.64,474,1639.2
PHHWP-T1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#48 | PUMP SCHEDULE | 2527.204,2610.478,2706.72,2645.038
PHHWP-T2 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#48 | PUMP SCHEDULE | 2527.204,2645.038,2706.72,2679.598
SCHWP-M1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#45 | PUMP SCHEDULE | 301.2,1639.2,474,1673.52
SCHWP-M2 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#45 | PUMP SCHEDULE | 301.2,1673.52,474,1708.08
SCHWP-T1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#48 | PUMP SCHEDULE | 2527.204,2679.598,2706.72,2713.918
SCHWP-T2 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#48 | PUMP SCHEDULE | 2527.204,2713.918,2706.72,2748.478
SHHWP-A1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#42 | PUMP SCHEDULE | 301.2,2873.2799999999997,477.84,2907.84
SHHWP-A2 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#42 | PUMP SCHEDULE | 301.2,2907.84,477.84,2942.4
SHHWP-M1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#45 | PUMP SCHEDULE | 301.2,1708.08,474,1742.64
SHHWP-M2 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#45 | PUMP SCHEDULE | 301.2,1742.64,474,1776.96
SHHWP-T1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#48 | PUMP SCHEDULE | 2527.204,2748.478,2706.72,2783.04
SHHWP-T2 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#48 | PUMP SCHEDULE | 2527.204,2783.04,2706.72,2817.36

## FAN
tag | description | qty | unit | sheet_id | table_title | bbox_px
EF-A1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | FAN SCHEDULE | 437.04,705.1199999999999,560.16,739.6799999999998
EF-A2 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | FAN SCHEDULE | 437.04,739.6799999999998,560.16,774
EF-A3 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | FAN SCHEDULE | 437.04,774,560.16,808.56
EF-M1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | FAN SCHEDULE | 361.68,2405.76,505.68,2440.32
EF-T1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#48 | FAN SCHEDULE | 230.64,2319.84,374.64,2354.4
EF-T2 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#48 | FAN SCHEDULE | 230.64,2354.4,374.64,2388.7200000000003
SPF-T1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#48 | FAN SCHEDULE | 230.64,2388.7200000000003,374.64,2423.2799999999997
SPF-T2 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#48 | FAN SCHEDULE | 230.64,2423.2799999999997,374.64,2457.84

## CABINET_UNIT_HEATER
tag | description | qty | unit | sheet_id | table_title | bbox_px
CUH-A1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#43 | CABINET UNIT HEATER SCHEDULE | 310.08,309.84000000000015,454.08,344.4000000000001
CUH-A2 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#43 | CABINET UNIT HEATER SCHEDULE | 310.08,344.4000000000001,454.08,378.7199999999998
CUH-M1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | CABINET UNIT HEATER SCHEDULE | 1678.558,2890.32,1808.16,2924.88
CUH-T1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#48 | CABINET UNIT HEATER SCHEDULE | 2729.038,2250.962,2858.64,2285.52
CUH-T2 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#48 | CABINET UNIT HEATER SCHEDULE | 2729.038,2285.52,2858.64,2320.082

## UNIT_HEATER
tag | description | qty | unit | sheet_id | table_title | bbox_px
UH-A1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#43 | UNIT HEATER SCHEDULE | 310.08,628.8000000000002,451.2,663.3600000000001
UH-A2 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#43 | UNIT HEATER SCHEDULE | 310.08,663.3600000000001,451.2,697.6799999999998
UH-A3 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#43 | UNIT HEATER SCHEDULE | 310.08,697.6799999999998,451.2,732.2399999999998
UH-A4 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#43 | UNIT HEATER SCHEDULE | 310.08,732.2399999999998,451.2,766.8000000000002
UH-A5 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#43 | UNIT HEATER SCHEDULE | 310.08,766.8000000000002,451.2,801.3600000000001
UH-M1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#45 | UNIT HEATER SCHEDULE | 2646.958,1717.922,2776.56,1752.48

## CRAH
tag | description | qty | unit | sheet_id | table_title | bbox_px
CRAH-M1A |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#45 | COMPUTER ROOM AIR HANDLER TYPE SCHEDULE | 301.2,2735.52,446.64,2770.08
CRAH-M1B |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#45 | COMPUTER ROOM AIR HANDLER TYPE SCHEDULE | 301.2,2770.08,446.64,2804.4
CRAH-M2A |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#45 | COMPUTER ROOM AIR HANDLER TYPE SCHEDULE | 301.2,2804.4,446.64,2838.96
CRAH-M2B |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#45 | COMPUTER ROOM AIR HANDLER TYPE SCHEDULE | 301.2,2838.96,446.64,2873.52
CRAH-T1A |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#48 | COMPUTER ROOM AIR HANDLER TYPE SCHEDULE | 230.64,1903.2,343.68,1937.76
CRAH-T1B |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#48 | COMPUTER ROOM AIR HANDLER TYPE SCHEDULE | 230.64,1937.76,343.68,1972.08

## DEHUMIDIFIER
tag | description | qty | unit | sheet_id | table_title | bbox_px
DH-A1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | DEHUMIDIFIER SCHEDULE | 3461.282,1959.358,3623.04,1993.68
DH-A2 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | DEHUMIDIFIER SCHEDULE | 3461.282,1993.68,3623.04,2028.238
DH-A3 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | DEHUMIDIFIER SCHEDULE | 3461.282,2028.238,3623.04,2062.8
DH-A4 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | DEHUMIDIFIER SCHEDULE | 3461.282,2062.8,3623.04,2097.118
DH-A5 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | DEHUMIDIFIER SCHEDULE | 3461.282,2097.118,3623.04,2131.6800000000003
DH-A6 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | DEHUMIDIFIER SCHEDULE | 3461.282,2131.6800000000003,3623.04,2166.2380000000003
DH-M1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | DEHUMIDIFIER SCHEDULE | 2670.482,2323.68,2832.48,2358.002
DH-M2 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | DEHUMIDIFIER SCHEDULE | 2670.482,2358.002,2832.48,2392.56
DH-M3 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | DEHUMIDIFIER SCHEDULE | 2670.482,2392.56,2832.48,2427.12
DH-T1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | DEHUMIDIFIER SCHEDULE | 265.2,1675.2,427.2,1709.52
DH-T2 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | DEHUMIDIFIER SCHEDULE | 265.2,1709.52,427.2,1744.08
DH-T3 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | DEHUMIDIFIER SCHEDULE | 265.2,1744.08,427.2,1778.64

## HUMIDIFIER
tag | description | qty | unit | sheet_id | table_title | bbox_px
H-A1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#43 | HUMIDIFIER SCHEDULE | 2576.64,1006.0799999999999,2720.64,1040.6419999999998
H-M1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | HUMIDIFIER SCHEDULE | 2670.484,1675.676,2814.48,1709.998
H-M2 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | HUMIDIFIER SCHEDULE | 2670.484,1709.998,2814.48,1744.556
H-M3 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | HUMIDIFIER SCHEDULE | 2670.484,1744.556,2814.48,1779.118
H-M4 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | HUMIDIFIER SCHEDULE | 2670.484,1779.118,2814.48,1813.676
H-M5 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | HUMIDIFIER SCHEDULE | 2670.484,1813.676,2814.48,1847.998
H-M6 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | HUMIDIFIER SCHEDULE | 2670.484,1847.998,2814.48,1882.558
H-T1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#48 | HUMIDIFIER SCHEDULE | 3045.118,1627.438,3133.2,1661.76
H-T2 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#48 | HUMIDIFIER SCHEDULE | 3045.118,1661.76,3133.2,1696.318
H-T3 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#48 | HUMIDIFIER SCHEDULE | 3045.118,1696.318,3133.2,1730.878
H-T4 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#48 | HUMIDIFIER SCHEDULE | 3045.118,1730.878,3133.2,1765.438
H-T5 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#48 | HUMIDIFIER SCHEDULE | 3045.118,1765.438,3133.2,1799.758

## AIR_SEPARATOR
tag | description | qty | unit | sheet_id | table_title | bbox_px
AS-CHW-A1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | AIR SEPARATOR SCHEDULE | 437.04,2533.92,655.44,2568.48
AS-CHW-M1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#45 | AIR SEPARATOR SCHEDULE | 3270.228,2170.322,3414.24,2204.642
AS-CHW-T1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | AIR SEPARATOR SCHEDULE | 265.2,2051.04,440.64,2085.6
AS-HHW-A1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | AIR SEPARATOR SCHEDULE | 437.04,2568.48,655.44,2603.04
AS-HHW-M1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#45 | AIR SEPARATOR SCHEDULE | 3270.228,2204.642,3414.24,2239.202
AS-HHW-T1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | AIR SEPARATOR SCHEDULE | 265.2,2085.6,440.64,2119.92

## EXPANSION_TANK
tag | description | qty | unit | sheet_id | table_title | bbox_px
ET-CHW-A1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | EXPANSION TANK SCHEDULE | 437.04,2781.6,661.92,2815.92
ET-CHW-MT1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | EXPANSION TANK SCHEDULE | 361.68,2823.12,505.68,2857.68
ET-HHW-A1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | EXPANSION TANK SCHEDULE | 437.04,2815.92,661.92,2850.48
ET-HW-MT1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | EXPANSION TANK SCHEDULE | 361.68,2857.68,505.68,2892.24

## CHW_CONTROL_VALVE
tag | description | qty | unit | sheet_id | table_title | bbox_px
AHU-T1A-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | CHW CONTROL VALVE SCHEDULE | 3785.28,1550.162,3958.318,1584.722
AHU-T1B-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | CHW CONTROL VALVE SCHEDULE | 3785.28,1584.722,3958.318,1619.282
CHW-BP-T |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | CHW CONTROL VALVE SCHEDULE | 3785.28,1688.162,3958.318,1722.722
CRAH-T1A-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | CHW CONTROL VALVE SCHEDULE | 3785.28,1619.282,3958.318,1653.602
CRAH-T1B-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | CHW CONTROL VALVE SCHEDULE | 3785.28,1653.602,3958.318,1688.162
CV-AHU-A1-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | CHW CONTROL VALVE SCHEDULE | 3611.04,611.5239999999999,3802.32,646.0859999999998
CV-AHU-A2-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | CHW CONTROL VALVE SCHEDULE | 3611.04,646.0859999999998,3802.32,680.6460000000002
CV-AHU-M1-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | CHW CONTROL VALVE SCHEDULE | 1709.52,410.6399999999999,1918.08,445.1999999999998
CV-CH-A1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | CHW CONTROL VALVE SCHEDULE | 3611.04,680.6460000000002,3802.32,714.9659999999999
CV-CH-A2 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | CHW CONTROL VALVE SCHEDULE | 3611.04,714.9659999999999,3802.32,749.5239999999999
CV-CH-C-MT1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | CHW CONTROL VALVE SCHEDULE | 1709.52,583.1999999999998,1918.08,617.7600000000002
CV-CH-C-MT2 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | CHW CONTROL VALVE SCHEDULE | 1709.52,617.7600000000002,1918.08,652.0799999999999
CV-CHW-BP-A |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | CHW CONTROL VALVE SCHEDULE | 3611.04,749.5239999999999,3802.32,784.0839999999998
CV-CHW-BP-M |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | CHW CONTROL VALVE SCHEDULE | 1709.52,652.0799999999999,1918.08,686.6399999999999
CV-CRAH-M1A-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | CHW CONTROL VALVE SCHEDULE | 1709.52,445.1999999999998,1918.08,479.7600000000002
CV-CRAH-M1B-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | CHW CONTROL VALVE SCHEDULE | 1709.52,479.7600000000002,1918.08,514.3200000000002
CV-CRAH-M2A-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | CHW CONTROL VALVE SCHEDULE | 1709.52,514.3200000000002,1918.08,548.6399999999999
CV-CRAH-M2B-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | CHW CONTROL VALVE SCHEDULE | 1709.52,548.6399999999999,1918.08,583.1999999999998
CV-DOAH-A1-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | CHW CONTROL VALVE SCHEDULE | 3611.04,784.0839999999998,3802.32,818.404
CV-DOAH-A2-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | CHW CONTROL VALVE SCHEDULE | 3611.04,818.404,3802.32,852.9639999999999
CV-DOAH-M1-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | CHW CONTROL VALVE SCHEDULE | 1709.52,686.6399999999999,1918.08,721.1999999999998
CV-FCU-A1-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | CHW CONTROL VALVE SCHEDULE | 3611.04,852.9639999999999,3802.32,887.5259999999998
CV-FCU-A2-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | CHW CONTROL VALVE SCHEDULE | 3611.04,887.5259999999998,3802.32,921.844
CV-FCU-A3-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | CHW CONTROL VALVE SCHEDULE | 3611.04,921.844,3802.32,956.404
CV-FCU-A4-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | CHW CONTROL VALVE SCHEDULE | 3611.04,956.404,3802.32,990.9639999999999
CV-FCU-A5-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | CHW CONTROL VALVE SCHEDULE | 3611.04,990.9639999999999,3802.32,1025.524
CV-FCU-A6-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | CHW CONTROL VALVE SCHEDULE | 3611.04,1025.524,3802.32,1059.844
CV-FCU-A7-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | CHW CONTROL VALVE SCHEDULE | 3611.04,1059.844,3802.32,1094.404
CV-FCU-A8A-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | CHW CONTROL VALVE SCHEDULE | 3611.04,1094.404,3802.32,1128.964
CV-FCU-A8B-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | CHW CONTROL VALVE SCHEDULE | 3611.04,1128.964,3802.32,1163.284
CV-FCU-A9-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | CHW CONTROL VALVE SCHEDULE | 3611.04,1163.284,3802.32,1197.844
CV-FCU-A10-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | CHW CONTROL VALVE SCHEDULE | 3611.04,1197.844,3802.32,1232.404
CV-FCU-A11-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | CHW CONTROL VALVE SCHEDULE | 3611.04,1232.404,3802.32,1266.964
CV-FCU-A12-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | CHW CONTROL VALVE SCHEDULE | 3611.04,1266.964,3802.32,1301.284
CV-FCU-A13-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | CHW CONTROL VALVE SCHEDULE | 3611.04,1301.284,3802.32,1335.844
CV-FCU-M1A-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | CHW CONTROL VALVE SCHEDULE | 1709.52,721.1999999999998,1918.08,755.52
CV-FCU-M1B-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | CHW CONTROL VALVE SCHEDULE | 1709.52,755.52,1918.08,790.0799999999999
CV-FCU-M2A-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | CHW CONTROL VALVE SCHEDULE | 1709.52,790.0799999999999,1918.08,824.6399999999999
CV-FCU-M2B-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | CHW CONTROL VALVE SCHEDULE | 1709.52,824.6399999999999,1918.08,859.1999999999998
CV-FCU-M3-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | CHW CONTROL VALVE SCHEDULE | 1709.52,859.1999999999998,1918.08,893.52
CV-FCU-M4A-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | CHW CONTROL VALVE SCHEDULE | 1709.52,893.52,1918.08,928.0799999999999
CV-FCU-M4B-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | CHW CONTROL VALVE SCHEDULE | 1709.52,928.0799999999999,1918.08,962.6399999999999
CV-FCU-M5-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | CHW CONTROL VALVE SCHEDULE | 1709.52,962.6399999999999,1918.08,996.96
CV-FCU-M6-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | CHW CONTROL VALVE SCHEDULE | 1709.52,996.96,1918.08,1031.52
CV-FCU-M7-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | CHW CONTROL VALVE SCHEDULE | 1709.52,1031.52,1918.08,1066.08
DOAH-T1-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | CHW CONTROL VALVE SCHEDULE | 3785.28,1722.722,3958.318,1757.282
FCU-9-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | CHW CONTROL VALVE SCHEDULE | 3785.28,2102.1620000000003,3958.318,2136.482
FCU-T1-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | CHW CONTROL VALVE SCHEDULE | 3785.28,1757.282,3958.318,1791.602
FCU-T2-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | CHW CONTROL VALVE SCHEDULE | 3785.28,1791.602,3958.318,1826.162
FCU-T3-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | CHW CONTROL VALVE SCHEDULE | 3785.28,1826.162,3958.318,1860.722
FCU-T4-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | CHW CONTROL VALVE SCHEDULE | 3785.28,1860.722,3958.318,1895.042
FCU-T5A-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | CHW CONTROL VALVE SCHEDULE | 3785.28,1895.042,3958.318,1929.602
FCU-T5B-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | CHW CONTROL VALVE SCHEDULE | 3785.28,1929.602,3958.318,1964.162
FCU-T6-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | CHW CONTROL VALVE SCHEDULE | 3785.28,1964.162,3958.318,1998.482
FCU-T7A-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | CHW CONTROL VALVE SCHEDULE | 3785.28,1998.482,3958.318,2033.042
FCU-T7B-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | CHW CONTROL VALVE SCHEDULE | 3785.28,2033.042,3958.318,2067.602
FCU-T8-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | CHW CONTROL VALVE SCHEDULE | 3785.28,2067.602,3958.318,2102.1620000000003
FCU-T10-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | CHW CONTROL VALVE SCHEDULE | 3785.28,2136.482,3958.318,2171.042
FCU-T11-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | CHW CONTROL VALVE SCHEDULE | 3785.28,2171.042,3958.318,2205.602
FCU-T12-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | CHW CONTROL VALVE SCHEDULE | 3785.28,2205.602,3958.318,2239.922
FCU-T13-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | CHW CONTROL VALVE SCHEDULE | 3785.28,2239.922,3958.318,2274.482
FCU-T14-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | CHW CONTROL VALVE SCHEDULE | 3785.28,2274.482,3958.318,2309.042
FCU-T15-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | CHW CONTROL VALVE SCHEDULE | 3785.28,2309.042,3958.318,2343.36
FCU-T16-CHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | CHW CONTROL VALVE SCHEDULE | 3785.28,2343.36,3958.318,2377.922

## HHW_CONTROL_VALVE
tag | description | qty | unit | sheet_id | table_title | bbox_px
AHU-T1A-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | HHW CONTROL VALVE SCHEDULE | 2910.48,1550.16,3095.04,1584.72
AHU-T1B-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | HHW CONTROL VALVE SCHEDULE | 2910.48,1584.72,3095.04,1619.28
CUH-T1-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | HHW CONTROL VALVE SCHEDULE | 2910.48,1619.28,3095.04,1653.6
CUH-T2-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | HHW CONTROL VALVE SCHEDULE | 2910.48,1653.6,3095.04,1688.16
CV-CH-H-MT-1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | HHW CONTROL VALVE SCHEDULE | 566.4,445.1999999999998,776.88,479.7600000000002
CV-CH-H-MT-2 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | HHW CONTROL VALVE SCHEDULE | 566.4,479.7600000000002,776.88,514.3200000000002
CV-CUH-A1-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | HHW CONTROL VALVE SCHEDULE | 2562.96,611.52,2770.56,646.0799999999999
CV-CUH-M1-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | HHW CONTROL VALVE SCHEDULE | 566.4,410.6399999999999,776.88,445.1999999999998
CV-DOAH-A1-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | HHW CONTROL VALVE SCHEDULE | 2562.96,714.96,2770.56,749.52
CV-DOAH-A2-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | HHW CONTROL VALVE SCHEDULE | 2562.96,749.52,2770.56,784.0799999999999
CV-DOAH-M1-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | HHW CONTROL VALVE SCHEDULE | 566.4,548.6399999999999,776.88,583.1999999999998
CV-FCU-A1-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | HHW CONTROL VALVE SCHEDULE | 2562.96,784.0799999999999,2770.56,818.4000000000001
CV-FCU-A2-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | HHW CONTROL VALVE SCHEDULE | 2562.96,818.4000000000001,2770.56,852.96
CV-FCU-A6-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | HHW CONTROL VALVE SCHEDULE | 2562.96,852.96,2770.56,887.52
CV-FCU-A7-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | HHW CONTROL VALVE SCHEDULE | 2562.96,887.52,2770.56,921.8400000000001
CV-FCU-A8-A-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | HHW CONTROL VALVE SCHEDULE | 2562.96,921.8400000000001,2770.56,956.4000000000001
CV-FCU-A8-B-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | HHW CONTROL VALVE SCHEDULE | 2562.96,956.4000000000001,2770.56,990.96
CV-FCU-A10-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | HHW CONTROL VALVE SCHEDULE | 2562.96,990.96,2770.56,1025.52
CV-FCU-A12-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | HHW CONTROL VALVE SCHEDULE | 2562.96,1025.52,2770.56,1059.8400000000001
CV-FCU-A13-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | HHW CONTROL VALVE SCHEDULE | 2562.96,1059.8400000000001,2770.56,1094.4
CV-FCU-M3-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | HHW CONTROL VALVE SCHEDULE | 566.4,583.1999999999998,776.88,617.7600000000002
CV-FCU-M5-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | HHW CONTROL VALVE SCHEDULE | 566.4,617.7600000000002,776.88,652.0799999999999
CV-FCU-M6-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | HHW CONTROL VALVE SCHEDULE | 566.4,652.0799999999999,776.88,686.6399999999999
CV-FCU-M7-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | HHW CONTROL VALVE SCHEDULE | 566.4,686.6399999999999,776.88,721.1999999999998
CV-HHW-BP-A1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | HHW CONTROL VALVE SCHEDULE | 2562.96,680.6399999999999,2770.56,714.96
CV-HHW-BP-M |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | HHW CONTROL VALVE SCHEDULE | 566.4,514.3200000000002,776.88,548.6399999999999
CV-UH-A1-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | HHW CONTROL VALVE SCHEDULE | 2562.96,1094.4,2770.56,1128.96
CV-UH-A2-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | HHW CONTROL VALVE SCHEDULE | 2562.96,1128.96,2770.56,1163.28
CV-UH-M1-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | HHW CONTROL VALVE SCHEDULE | 566.4,721.1999999999998,776.88,755.52
CV-VAV-102-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | HHW CONTROL VALVE SCHEDULE | 2562.96,1301.28,2770.56,1335.84
CV-VAV-A101-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | HHW CONTROL VALVE SCHEDULE | 2562.96,1266.96,2770.56,1301.28
CV-VAV-A103-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | HHW CONTROL VALVE SCHEDULE | 2562.96,1335.84,2770.56,1370.4
CV-VAV-A104-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | HHW CONTROL VALVE SCHEDULE | 2562.96,1370.4,2770.56,1404.72
CV-VAV-A105-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | HHW CONTROL VALVE SCHEDULE | 2562.96,1404.72,2770.56,1439.28
CV-VAV-A106A-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | HHW CONTROL VALVE SCHEDULE | 2562.96,1439.28,2770.56,1473.84
CV-VAV-A106B-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | HHW CONTROL VALVE SCHEDULE | 2562.96,1473.84,2770.56,1508.16
CV-VAV-A107-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | HHW CONTROL VALVE SCHEDULE | 2562.96,1508.16,2770.56,1542.72
CV-VAV-A108A-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | HHW CONTROL VALVE SCHEDULE | 2562.96,1542.72,2770.56,1577.28
CV-VAV-A108B-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | HHW CONTROL VALVE SCHEDULE | 2562.96,1577.28,2770.56,1611.84
CV-VAV-A109-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | HHW CONTROL VALVE SCHEDULE | 2562.96,1611.84,2770.56,1646.16
CV-VAV-A110-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | HHW CONTROL VALVE SCHEDULE | 2562.96,1646.16,2770.56,1680.72
CV-VAV-A111-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | HHW CONTROL VALVE SCHEDULE | 2562.96,1680.72,2770.56,1715.28
CV-VAV-A112-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | HHW CONTROL VALVE SCHEDULE | 2562.96,1715.28,2770.56,1749.6
CV-VAV-A113-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | HHW CONTROL VALVE SCHEDULE | 2562.96,1749.6,2770.56,1784.16
CV-VAV-A114-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | HHW CONTROL VALVE SCHEDULE | 2562.96,1784.16,2770.56,1818.72
CV-VAV-A115-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | HHW CONTROL VALVE SCHEDULE | 2562.96,1818.72,2770.56,1853.04
CV-VAV-A116-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | HHW CONTROL VALVE SCHEDULE | 2562.96,1853.04,2770.56,1887.6
CV-VAV-A117-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | HHW CONTROL VALVE SCHEDULE | 2562.96,1887.6,2770.56,1922.16
CV-VAV-A118-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | HHW CONTROL VALVE SCHEDULE | 2562.96,1922.16,2770.56,1956.72
CV-VAV-A201-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | HHW CONTROL VALVE SCHEDULE | 2562.96,1956.72,2770.56,1991.04
CV-VAV-A202-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | HHW CONTROL VALVE SCHEDULE | 2562.96,1991.04,2770.56,2025.6
CV-VAV-A203A-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | HHW CONTROL VALVE SCHEDULE | 2562.96,2025.6,2770.56,2060.16
CV-VAV-A203B-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | HHW CONTROL VALVE SCHEDULE | 2562.96,2060.16,2770.56,2094.48
CV-VAV-A204-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | HHW CONTROL VALVE SCHEDULE | 2562.96,2094.48,2770.56,2129.04
CV-VAV-A205-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | HHW CONTROL VALVE SCHEDULE | 2562.96,2129.04,2770.56,2163.6
CV-VAV-A206-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | HHW CONTROL VALVE SCHEDULE | 2562.96,2163.6,2770.56,2197.92
CV-VAV-M101-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | HHW CONTROL VALVE SCHEDULE | 566.4,755.52,776.88,790.0799999999999
CV-VAV-M102-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | HHW CONTROL VALVE SCHEDULE | 566.4,790.0799999999999,776.88,824.6399999999999
CV-VAV-M103-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | HHW CONTROL VALVE SCHEDULE | 566.4,824.6399999999999,776.88,859.1999999999998
CV-VAV-M104-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | HHW CONTROL VALVE SCHEDULE | 566.4,859.1999999999998,776.88,893.52
CV-VAV-M105-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | HHW CONTROL VALVE SCHEDULE | 566.4,893.52,776.88,928.0799999999999
CV-VAV-M106-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | HHW CONTROL VALVE SCHEDULE | 566.4,928.0799999999999,776.88,962.6399999999999
CV-VAV-M107-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | HHW CONTROL VALVE SCHEDULE | 566.4,962.6399999999999,776.88,996.96
CV-VAV-M108-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | HHW CONTROL VALVE SCHEDULE | 566.4,996.96,776.88,1031.52
CV-VAV-M109-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | HHW CONTROL VALVE SCHEDULE | 566.4,1031.52,776.88,1066.08
CV-VAV-M110-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | HHW CONTROL VALVE SCHEDULE | 566.4,1066.08,776.88,1100.6399999999999
CV-VAV-M111-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | HHW CONTROL VALVE SCHEDULE | 566.4,1100.6399999999999,776.88,1134.96
CV-VAV-M112-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | HHW CONTROL VALVE SCHEDULE | 566.4,1134.96,776.88,1169.52
CV-VAV-M113-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | HHW CONTROL VALVE SCHEDULE | 566.4,1169.52,776.88,1204.08
CV-VAV-M114-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | HHW CONTROL VALVE SCHEDULE | 566.4,1204.08,776.88,1238.4
CV-VAV-M115-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | HHW CONTROL VALVE SCHEDULE | 566.4,1238.4,776.88,1272.96
CV-VAV-M116-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | HHW CONTROL VALVE SCHEDULE | 566.4,1272.96,776.88,1307.52
CV-VAV-M117-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | HHW CONTROL VALVE SCHEDULE | 566.4,1307.52,776.88,1341.84
CV-VAV-M118-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | HHW CONTROL VALVE SCHEDULE | 566.4,1341.84,776.88,1376.4
CV-VAV-M119-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | HHW CONTROL VALVE SCHEDULE | 566.4,1376.4,776.88,1410.96
CV-VAV-M120-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | HHW CONTROL VALVE SCHEDULE | 566.4,1410.96,776.88,1445.52
CV-VAV-M121-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | HHW CONTROL VALVE SCHEDULE | 566.4,1445.52,776.88,1479.84
CV-VAV-M122-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | HHW CONTROL VALVE SCHEDULE | 566.4,1479.84,776.88,1514.4
CV-VAV-M123-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | HHW CONTROL VALVE SCHEDULE | 566.4,1514.4,776.88,1548.96
CV-VAV-M124-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | HHW CONTROL VALVE SCHEDULE | 566.4,1548.96,776.88,1583.28
CV-VAV-M125-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | HHW CONTROL VALVE SCHEDULE | 566.4,1583.28,776.88,1617.84
DOAH-T1-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | HHW CONTROL VALVE SCHEDULE | 2910.48,1722.72,3095.04,1757.28
FCU-T2-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | HHW CONTROL VALVE SCHEDULE | 2910.48,1757.28,3095.04,1791.6
FCU-T3-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | HHW CONTROL VALVE SCHEDULE | 2910.48,1791.6,3095.04,1826.16
FCU-T4-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | HHW CONTROL VALVE SCHEDULE | 2910.48,1826.16,3095.04,1860.72
FCU-T6-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | HHW CONTROL VALVE SCHEDULE | 2910.48,1860.72,3095.04,1895.04
FCU-T7A-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | HHW CONTROL VALVE SCHEDULE | 2910.48,1895.04,3095.04,1929.6
FCU-T7B-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | HHW CONTROL VALVE SCHEDULE | 2910.48,1929.6,3095.04,1964.16
FCU-T8-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | HHW CONTROL VALVE SCHEDULE | 2910.48,1964.16,3095.04,1998.48
FCU-T9-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | HHW CONTROL VALVE SCHEDULE | 2910.48,1998.48,3095.04,2033.04
FCU-T10-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | HHW CONTROL VALVE SCHEDULE | 2910.48,2033.04,3095.04,2067.6
FCU-T11-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | HHW CONTROL VALVE SCHEDULE | 2910.48,2067.6,3095.04,2102.16
FCU-T12-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | HHW CONTROL VALVE SCHEDULE | 2910.48,2102.16,3095.04,2136.48
FCU-T13-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | HHW CONTROL VALVE SCHEDULE | 2910.48,2136.48,3095.04,2171.04
FCU-T14-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | HHW CONTROL VALVE SCHEDULE | 2910.48,2171.04,3095.04,2205.6
FCU-T15-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | HHW CONTROL VALVE SCHEDULE | 2910.48,2205.6,3095.04,2239.92
FCU-T16-HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | HHW CONTROL VALVE SCHEDULE | 2910.48,2239.92,3095.04,2274.48
HHW-BP-T |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | HHW CONTROL VALVE SCHEDULE | 2910.48,1688.16,3095.04,1722.72
HHWC-DOAH-T1HHW |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | HHW CONTROL VALVE SCHEDULE | 2910.48,2274.48,3095.04,2338.08

## GRD
tag | description | qty | unit | sheet_id | table_title | bbox_px
CD-1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | GRILLE, REGISTER, AND DIFFUSER SCHEDULE | 2670.472,650.886,2780.88,685.444
CD-2 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | GRILLE, REGISTER, AND DIFFUSER SCHEDULE | 2670.472,685.444,2780.88,720.002
CD-3 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | GRILLE, REGISTER, AND DIFFUSER SCHEDULE | 2670.472,720.002,2780.88,754.3240000000001
CD-4 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | GRILLE, REGISTER, AND DIFFUSER SCHEDULE | 2670.472,754.3240000000001,2780.88,788.884
CD-5 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | GRILLE, REGISTER, AND DIFFUSER SCHEDULE | 2670.472,788.884,2780.88,823.444
EG-1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | GRILLE, REGISTER, AND DIFFUSER SCHEDULE | 2670.472,823.444,2780.88,858.0059999999999
EG-2 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | GRILLE, REGISTER, AND DIFFUSER SCHEDULE | 2670.472,858.0059999999999,2780.88,892.3240000000001
EG-3 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | GRILLE, REGISTER, AND DIFFUSER SCHEDULE | 2670.472,892.3240000000001,2780.88,926.884
EG-4 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | GRILLE, REGISTER, AND DIFFUSER SCHEDULE | 437.04,1402.08,547.44,1436.64
LD-1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | GRILLE, REGISTER, AND DIFFUSER SCHEDULE | 437.04,1436.64,547.44,1471.2
LD-2 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | GRILLE, REGISTER, AND DIFFUSER SCHEDULE | 437.04,1471.2,547.44,1505.52
LD-3 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | GRILLE, REGISTER, AND DIFFUSER SCHEDULE | 437.04,1505.52,547.44,1540.08
RG-1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | GRILLE, REGISTER, AND DIFFUSER SCHEDULE | 2670.472,926.884,2780.88,961.444
RG-2 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | GRILLE, REGISTER, AND DIFFUSER SCHEDULE | 2670.472,961.444,2780.88,995.7640000000001
RG-3 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | GRILLE, REGISTER, AND DIFFUSER SCHEDULE | 2670.472,995.7640000000001,2780.88,1030.324
RG-4 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | GRILLE, REGISTER, AND DIFFUSER SCHEDULE | 2670.472,1030.324,2780.88,1064.884
RG-5 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | GRILLE, REGISTER, AND DIFFUSER SCHEDULE | 2670.472,1064.884,2780.88,1099.2040000000002
RG-6 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | GRILLE, REGISTER, AND DIFFUSER SCHEDULE | 2670.472,1099.2040000000002,2780.88,1133.764
RG-7 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | GRILLE, REGISTER, AND DIFFUSER SCHEDULE | 2670.472,1133.764,2780.88,1168.324
RG-8 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | GRILLE, REGISTER, AND DIFFUSER SCHEDULE | 2670.472,1168.324,2780.88,1202.884
RG-9 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | GRILLE, REGISTER, AND DIFFUSER SCHEDULE | 2670.472,1202.884,2780.88,1237.204
RG-11 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | GRILLE, REGISTER, AND DIFFUSER SCHEDULE | 437.04,1781.52,547.44,1816.08
RG-12 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | GRILLE, REGISTER, AND DIFFUSER SCHEDULE | 437.04,1816.08,547.44,1850.4
RG-13 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | GRILLE, REGISTER, AND DIFFUSER SCHEDULE | 437.04,1850.4,547.44,1884.96
SG-1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | GRILLE, REGISTER, AND DIFFUSER SCHEDULE | 1943.28,2786.16,2053.68,2820.7200000000003
TG-1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | GRILLE, REGISTER, AND DIFFUSER SCHEDULE | 2670.472,1237.204,2780.88,1271.762
TG-2 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | GRILLE, REGISTER, AND DIFFUSER SCHEDULE | 2670.472,1271.762,2780.88,1306.324
TG-3 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#47 | GRILLE, REGISTER, AND DIFFUSER SCHEDULE | 2670.472,1306.324,2780.88,1340.644
TG-4 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | GRILLE, REGISTER, AND DIFFUSER SCHEDULE | 437.04,2022.96,547.44,2057.52
TG-5 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#44 | GRILLE, REGISTER, AND DIFFUSER SCHEDULE | 437.04,2057.52,547.44,2091.84

## RANGE_HOOD
tag | description | qty | unit | sheet_id | table_title | bbox_px
RH-M1 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#46 | RANGE HOOD SCHEDULE | 3144.964,2887.44,3268.56,2921.28
RH-M2 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#46 | RANGE HOOD SCHEDULE | 3144.964,2921.28,3268.56,2957.28
RH-M3 |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#46 | RANGE HOOD SCHEDULE | 3144.964,2957.28,3268.56,2993.28

## DUCT_SILENCER
tag | description | qty | unit | sheet_id | table_title | bbox_px
DS-AHU-T1-RA |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | DUCT SILENCER SCHEDULE | 265.2,2399.2799999999997,438.24,2433.84
DS-AHU-T1-SA |  | 1 | EA | navfac-cherry-point-atc-mechanical.pdf#49 | DUCT SILENCER SCHEDULE | 265.2,2433.84,438.24,2468.16

## INTERROGATION
turn | role | text
1 | interrogator | How many unique AHU MARKs are scheduled on this set? How many unique FCU MARKs are scheduled? How many unique VAV MARKs are scheduled? Did you count vibration isolation schedule rows as HVAC equipment units? Answer yes or no. How many RTU units are on the HVAC equipment schedules for this set? How many sheets are empty for HVAC equipment schedules?
2 | takeoff | { "answers": [ { "id": "qty-ahu", "answer": "5", "number": null }, { "id": "qty-fcu", "answer": "42", "number": null }, { "id": "qty-vav", "answer": "52", "number": null }, { "id": "neg-vib", "answer": "no", "number": null }, { "id": "false-rtu", "answer": "0", "number": null }, { "id": "empty-pages", "answer": "67", "number": null } ] }
| verdict | {"ok":true,"model":"gpt-oss-120b"}